# PHY340 Data Analysis Feedback:

# Group P10 doing Problem P1

# Data Analysis

You have taken a sensible approach to the data analysis: in a situation where the best way to determine the quantity of interest is not clear, using two methods and comparing the results is a good idea.  It does, however, appear to be more usual in the literature to use a log-log plot rather than a linear plot to determine the transit time—see, for example, the figure below (Lorrmann et al. 2014).

Figure 1: Mobility and transit time, from Lorrmann et al. (2014).  Note the use of the log-log plot.  In the modified Scott method, the transit time distribution is obtained by extrapolating the plateau and differentiating the ratio: ptrt=-ddtjtj0t.

The advantage of the log-log plot is that the lower voltages are easier to fit:

Figure 2: The data for −17 and −16 V, plotted on a linear scale (left) and a log-log scale (right); note that the right-hand plot only covers times from 0.8 to 2.0 µs, and so omits the initial peak.

In the linear plot, it would be difficult to fit a good straight line after the cut-off, and in the −16 V data there is a pronounced curve even before the cut-off.  In the log-log plot, both datasets give good straight lines before and after the cut-off.  This is because a straight line in a log-log plot actually corresponds to a power law, V = V0tx, where x is given by the gradient of the line and V0 by its intercept.  Not all curved lines are power laws, but in this case it seems that they are.

Although your choice of fitting method is not optimal, it should give reasonable values for the transit time, which you can then convert to mobilities using your equation (1).  However, the results you report in section 3 do not make sense: we expect to see an increase in mobility with electric field, in accordance with your equation (2) and more explicitly in the equation in section 2 of Laqual, Wegner and Bässler (2007), which shows μ(T,E)∝E.  Your electric fields appear to be calculated correctly, so there must be something wrong with the mobilities.  Your report is seriously lacking in detail, but it appears that you failed to subtract off the time offset before the start of the pulse, which is about 0.640 µs if we measure from the foot of the pulse and 0.664± 0.003 µs measuring from halfway up.  Making this correction gives mobilities of (0.92−1.02)× 10−6 m2 V−1 s−1, in agreement with your references 5 and 8, and an approximately linear increase in mobility with E1/2 as shown below.  This behaviour appears to be consistent with that reported by Buckley et al. (2011), your reference 5, which is encouraging as your data come from the same group.

Figure 3: hole mobility as a function of E.  The straight line is an unweighted least-squares fit with a gradient of (1.12±0.13)×10−10 m5/2 V−3/2 s−1 and intercept (6.94±0.32)×10−7 m2 V−1 s−1.

Note that your statement that “the data can be approximated by a linear fit” is not at all supported by your equation (2), μE=μ0expαE0.5.  For αE0.5≪1, the exponential can be expanded in a Taylor series to give μE≃μ0+μ0αE0.5.  This represents a straight line in a plot of µ against E1/2, as shown above.  It does not represent a straight line in µ vs E.  Therefore, even if your mobilities were correctly calculated, the fit in figures 6 and 7 would not be appropriate.

Another serious problem with your data analysis is the complete lack of any error analysis.  An uncertainty is quoted on the final result, but its source is completely unclear as no errors are quoted on any measured quantities.  It is reasonably clear that both of your adopted methods have uncertainties arising from the choice of fit range, and in the case of method 1 also the choice of range for the moving average (which is never stated in your report).  These should be discussed in the text, and estimated values provided.  The fact that you report intercepts for methods 1 and 2 which differ by only 0.02×10−7, not the 0.2×10−7 that you quote as your error estimate, makes your final result even more difficult to understand: the only measure that you have provided suggests a much smaller uncertainty than you quote.  (The uncertainty in the intercept quoted above is of comparable size to yours, but this is caused by fitting over the small dynamic range x = 2100−3000 and then extrapolating back to x = 0: even a small error in the gradient introduces a large error in this extrapolation.  This is not the case when you plot µ against E.)

Average mark for this section: 25.5/50

# Data Presentation

The graphs are well chosen to illustrate the points you are trying to make, and are reasonably well presented, though it would have been better to choose a plotting package that was capable of rendering scientific notation properly (as, e.g., ×10−6 instead of “e−6”), and the x axes of figures 5−7 should be given in scientific notation—especially figure 5, where the labels almost run into each other.  However, the presentation of numerical data is not satisfactory: the fitted parameters quoted in the captions of figures 6 and 7 should be written in proper scientific notation, and should have uncertainties and units included.  The comparison with the literature is also unsatisfactory: you claim that your results “agree well” with a literature value of “3×10−7 to 3×10−8” but not with literature values of 10−6—yet 6.5×10−7 is exactly halfway between 3×10−7 and 10−6 (and considerably further away from 3×10−8), so I cannot see how it can be said to agree with the former and not with the latter.  In fact, of course, the comparison with Buckley et al. (2011), your reference 5, is by far the most important, as this is the same group that provided your data, so any systematic errors such as dependence on the technique used to produce the sample are likely to cancel out.  You claim that the discrepancies are “due to the qualitative nature of the determination of the transit time”, but you offer absolutely no evidence to support this assertion (and, in fact, your method 2 would be industry standard had you applied it to the log-log plot), and you never make any comment on the inappropriate behaviour of your figures 6 and 7, although you researched field dependence in your literature search and should have known that your negative gradient was incorrect.

Average mark for this section: 20/30

# Style

The report is well structured and has the right subheadings, but is in serious need of proof-reading.  There are statements that do not make sense (“…that each transit time was found at the transit times”; “Where µ0 the mobility at no electric is field”—this is without the incorrect spacing in the original), incorrect words (“expediential”, consistently, for “exponential”; “hoping” for “hopping”), grammatical errors (“an aluminium electrodes”), failure to italicise symbols, inability to write sentences—and that’s all on the first page.  There is also a tendency to waffle: what useful information does “via analysis of the graph shape using appropriate parameters” convey to the reader?  What aspects of the “graph shape” are you analysing?  By what method?  What are these “appropriate parameters”?  How are they determined?  Without this information, the statement is simply content-free.

The report is also much too short: there is probably less than two pages of text here excluding figures and references, and this is simply not enough to provide the necessary information.  As discussed above, both of your methods are susceptible to systematic errors, and these should have been discussed and evaluated; it would have been useful to present a direct comparison of the mobilities measured using the two methods (it’s difficult to assess this just from figures 6 and 7); and the behaviour of your calculated mobility with electric field should have been compared to the literature (at which point you might have realised that you had a problem).

Average mark for this section: 12/20

Average overall mark: 57.5%

# References

A Buckley et al., J. Appl. Phys. 109 (2011) 084509.	
F Laqual, G Wegner and H Bässler, Phil Trans. Roy. Soc. A365 (2007) 1473−1487.	
J Lorrmann et al., J. Appl. Phys. 115 (2014) 183702.