# Visual inspection

STN 39191-00008

# Manufacturers part Number:	……………………………………….

20220900300008

# Atlas serial number:  		……………………………………….

## Front

Edge chip ~268nm enters metalisation

## Rear

Edge chip

2 x Contamination

Manufacturer has probed pads on rows A and D

20220900300008