# Visual inspection

STN 39194-00006

# Manufacturers part Number:	……………………………………….

20220900400006

# Atlas serial number:  		……………………………………….

## Front

-

## Rear

Scratch to bias rail

Rough edge

Minor scratch

Minor Scratch

### Manufacturer has probed pads on rows A and D

20220900400006