# Visual inspection

STN 39194-00022

# Manufacturers part Number:	……………………………………….

20220900400022

# Atlas serial number:  		……………………………………….

## Front

## Rear

Splatter type contamination strip 413

Contamination

Manufacturer has probed pads on rows A and D

20220900400022