# Visual inspection

# STN39229-00137

# Manufacturers part Number:	……………………………………….

20220900200137

# Atlas serial number:  		……………………………………….

## Front

## Rear

## Manufacturer has probed pads on rows A and D

6 edge chips

< 24um from edge

1

Some light scratching